## Sheet1
Model | ACL (Access List) | Acoustic Noise - Sound Power | Acoustic Noise - Sound Pressure | Aggregate | BIOS | BMC | Bucket | Bytes | Certifications EMC/EMI | Certifications Safety/EMC/EMI | Certifications Safety/EMC/EMI/RoHS | Certifications safety | Chassis Depth with Cable Mgmt | Chassis Depth without Cable Mgmt | Chassis Height | Chassis Width with Mounting Flanges | Chassis Width without Mounting Flanges | Child consistency group | Cluster | Connection | Consistency group | End of Availability (EOA) | End of Support (EOS) | Ethernet Ports | Expansion Slots | File | FlexGroup | FlexGroup Constituent | FlexGroup Volume | FlexGroup/Node | Front Clearance (Cooling) | Front Clearance (Maintenance) | HA Pair | HA Pair (Non-Scalable) | High Priority Controller | High Priority Queue | Input Power Voltage | Intercluster LIF | Internal Drives count | LUN | Max FabricPool Size | Max FlexGroup Data Constituent Size | Max Infinite Volume Data Constituent Size | Max Nodes per Cluster (NAS / SAN) | Max Number of Drives (Total) | Max number of Capacity Flash NVMe SSD Drives | Max number of FS4483 shelves | Max number of NS224 shelves | Max number of NS224 w/ NSM100B shelves | Maximum OS | Min Root Volume Size | Minimum OS | NAS SVM | NVMEM (Per Config) | NVMEM (Per Node) | NVRAM (Per Config) | NVRAM (Per Node) | Namespace | NetApp Volume Encryption | Node | Node/SVM | Object Store/StorageVM | Operating Altitude Range | Operating Relative Humidity | Operating Temperature Range | Origin | Parent consistency group | Port | Portset | RAM (Per Config) | RAM (Per Node) | Rack Units | Rear Clearance (Cooling) | Rear Clearance (Maintenance) | Recommended Version | Regular Priority Controller | Regular Priority Queue | Release Date | SAS Ports | SVM | Snapshot | Standards EMC/EMI | Standards Safety | Storage Altitude Range | Storage Relative Humidity | Storage Temperature Range | Subsystem | Transit Altitude Range | Transit Relative Humidity | Transit Temperature Range | UTA2 Ports | Volume | Vserver | igroup
AFF C30 Single Chassis HA Pair | 1,024 | 8 Bels | 70.5 dBA | 3,200 | 21.4.1, 21.3* | 19.4* | 400,000,000,000 | 512 | AMCA, FCC, ICES, KC, Morocco, VCCI | EAC, UKRSEPRO | BSMI, CE DoC, UKCA DoC | BIS, CB, CSA, G_K_U-SoR, IRAM, NOM, NRCS, SONCAP, TBS | - | 22.05" (56 cm) | 3.43" (8.7 cm) | 19.02" (48.3 cm) | 17.6" (44.7 cm) | 80 | 512 | 65,536 | 80 | - | - | - | 8 x IO Module (per System) | 128 | 200 | 1,500 | 1,000 | 50 | 6.03" (15.3 cm) | 24.03" (61 cm) | 4,420,800 | 100,000 | 6 | 32 | 40 to 48; 200 to 240; | 1 | Max: 24 per Chassis; | 128 | 16800 TiB | 300 TiB | Not Supported | 8 / 8 | 72 | Max: 72 per HA Pair; | N/A | 1 internal + 2 external | 2 external | 9.19.1P2 | 150 GiB | 9.19.1RC1 | 2 | 16 GB | 8 GB | N/A | N/A | 128 | NVE | 4,420,800 | 2 | 4,000 | Up to 10000.0 ft Up to 3048.0 m | 8 to 80 % | 50 to 95 deg F 10 to 35 deg C | 100 | 5 | 2,048 | 32 | 128 GB | 64 GB | 2 | 6.03" (15.3 cm) | 16.94" (43 cm) | 9.19.1, 9.19.1P2 | 4 | 32 | Nov 2024 | - | N/A | 255 | BS-EN-55032, BS-EN55035, CISPR 32, EN55022, EN55024, EN55032, EN55035, EN61000-3-2, EN61000-3- 3, FCC Part 15 Class A, ICES-003, KS C 9832, KS C 9835 | ANSI/UL60950-1, ANSI/UL62368-1, BS-EN62368-1, CAN/CSA C22.2 No. 60950-1, CAN/CSA C22.2 No. 62368- 1, CNS 15598-1, EN60825-1, EN62368-1, IEC 62368-1, IEC60950- 1, IS 13252(part 1) | Up to 40000.0 ft Up to 12192.0 m | 10 to 95 % | -40 to 158 deg F -40 to 70 deg C | 1,024 | Up to 39989.8 ft Up to 12192 m | 10 to 95 % | -40 to 158 deg F -40 to 70 deg C | - | 300 | 60 | 4,096
AFF C60 Single Chassis HA Pair | 1,024 | 8 Bels | 70.5 dBA | 3,200 | 21.4.1, 21.3* | 19.4* | 400,000,000,000 | 512 | AMCA, FCC, ICES, KC, Morocco, VCCI | EAC, UKRSEPRO | BSMI, CE DoC, UKCA DoC | BIS, CB, CSA, G_K_U-SoR, IRAM, NOM, NRCS, SONCAP, TBS | - | 22.05" (56 cm) | 3.43" (8.7 cm) | 19.02" (48.3 cm) | 17.6" (44.7 cm) | 80 | 512 | 65,536 | 80 | - | - | - | 8 x IO Module (per System) | 128 | 200 | 1,500 | 1,000 | 50 | 6.03" (15.3 cm) | 24.03" (61 cm) | 7,368,000 | 100,000 | 6 | 32 | 40 to 48; 200 to 240; | 1 | Max: 24 per Chassis; | 128 | 16800 TiB | 300 TiB | Not Supported | 8 / 8 | 120 | Max: 120 per HA Pair; | N/A | 1 internal + 4 external | 4 external | 9.19.1P2 | 150 GiB | 9.19.1RC1 | 2 | 16 GB | 8 GB | N/A | N/A | 128 | NVE | 7,368,000 | 2 | 4,000 | Up to 10000.0 ft Up to 3048.0 m | 8 to 80 % | 50 to 95 deg F 10 to 35 deg C | 100 | 5 | 2,048 | 32 | 128 GB | 64 GB | 2 | 6.03" (15.3 cm) | 16.94" (43 cm) | 9.19.1, 9.19.1P2 | 4 | 32 | Nov 2024 | - | N/A | 255 | BS-EN-55032, BS-EN55035, CISPR 32, EN55022, EN55024, EN55032, EN55035, EN61000-3-2, EN61000-3- 3, FCC Part 15 Class A, ICES-003, KS C 9832, KS C 9835 | ANSI/UL60950-1, ANSI/UL62368-1, BS-EN62368-1, CAN/CSA C22.2 No. 60950-1, CAN/CSA C22.2 No. 62368- 1, CNS 15598-1, EN60825-1, EN62368-1, IEC 62368-1, IEC60950- 1, IS 13252(part 1) | Up to 40000.0 ft Up to 12192.0 m | 10 to 95 % | -40 to 158 deg F -40 to 70 deg C | 1,024 | Up to 39989.8 ft Up to 12192 m | 10 to 95 % | -40 to 158 deg F -40 to 70 deg C | - | 300 | 60 | 4,096
AFF C80 Single Chassis HA Pair | 1,024 | 8.6 Bels | 71.6 dBA | 3,200 | 20.8* | 18.6* | 400,000,000,000 | 512 | AMCA, FCC, ICES, KC, Morocco, VCCI | EAC, UKRSEPRO | BSMI, CE DoC, UKCA DoC | BIS, CB, CSA, G_K_U-SoR, IRAM, NOM, NRCS, SONCAP, TBS | 38.27" (97.2 cm) | 34.49" (87.6 cm) | 6.89" (17.5 cm) | 19.02" (48.3 cm) | 17.6" (44.7 cm) | 80 | 1,024 | 65,536 | 80 | - | - | - | 18 x IO Module (per System) | 128 | 200 | 1,500 | 1,000 | 50 | 6.03" (15.3 cm) | 36.41" (92.4 cm) | 14,736,000 | 100,000 | 6 | 32 | 40 to 48; 200 to 240; | 1 | Max: 48 per Chassis; | 128 | 16800 TiB | 300 TiB | Not Supported | 24 / 12 | 240 | Max: 240 per HA Pair; | 1 internal | 8 external | 8 external | 9.19.1P2 | 150 GiB | 9.19.1RC1 | 2 | N/A | N/A | 128 GB | 64 GB | 128 | NVE | 14,736,000 | 2 | 4,000 | Up to 10000.0 ft Up to 3048.0 m | 8 to 80 % | 50 to 95 deg F 10 to 35 deg C | 100 | 5 | 2,048 | 32 | 512 GB | 256 GB | 4 | 6.03" (15.3 cm) | 36.01" (91.4 cm) | 9.19.1, 9.19.1P2 | 4 | 32 | Nov 2024 | - | 256 | 255 | BS-EN-55032, BS-EN55035, CISPR 32, EN55022, EN55024, EN55032, EN55035, EN61000-3-2, EN61000-3- 3, FCC Part 15 Class A, ICES-003, KS C 9832, KS C 9835 | ANSI/UL60950-1, ANSI/UL62368-1, BS-EN62368-1, CAN/CSA C22.2 No. 60950-1, CAN/CSA C22.2 No. 62368- 1, CNS 15598-1, EN60825-1, EN62368-1, IEC 62368-1, IEC60950- 1, IS 13252(part 1) | Up to 40000.0 ft Up to 12192.0 m | 10 to 95 % | -40 to 158 deg F -40 to 70 deg C | 1,024 | Up to 39989.8 ft Up to 12192 m | 10 to 95 % | -40 to 158 deg F -40 to 70 deg C | - | 300 | 60 | 4,096